## Register - ACM Property
City of Cockburn Asbestos Register
Date of Inspection | Address | Suburb | Property File LGIS Ref. | COC Asset No. | ACM Location | ACM Amount (m2) | ACM Presumed | ACM Condition | ACM Liable to damage or deterioration? | ACM Risk Level | Control Measures Recommended | Comments | Testing Required | Testing Conducted | Site Inspection Attachment | Inspected by | Site Works Attachment | Site Works Attachment
Unknown
[19 empty] | NO | Intact, not friable | Yes | LOW
[19 empty] | YES | Damaged, not friable | No, if undisturbed | MODERATE
[19 empty] | N/A | Damaged and deteriorating | N/A | HIGH
[20 empty] | Damaged and friable |  | EXTREME
2019-11-18 | Tempest Park Pavilion (Tom Greengrass Pavilion) - Cnr Stephano Way & Prospero Crescent, Coolbellup WA 6163 | Coolbellup | 122 | 2038 | Kitchen - Electrical switchboard | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Tempest Park Pavilion (Tom Greengrass Pavilion) - Cnr Stephano Way & Prospero Crescent, Coolbellup WA 6163 | Coolbellup | 122 | 2038 | Bar Store Room - Tiling grout | 25 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Tempest Park Pavilion (Tom Greengrass Pavilion) - Cnr Stephano Way & Prospero Crescent, Coolbellup WA 6163 | Coolbellup | 122 | 2038 | Football Home Room Toilet/Bathroom - Tiling grout | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Tempest Park Pavilion (Tom Greengrass Pavilion) - Cnr Stephano Way & Prospero Crescent, Coolbellup WA 6163 | Coolbellup | 122 | 2038 | Cricket Home Room Toilet/Bathroom - Tiling grout | 10 | YES | Intact, not friable | Yes | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Tempest Park Pavilion (Tom Greengrass Pavilion) - Cnr Stephano Way & Prospero Crescent, Coolbellup WA 6163 | Coolbellup | 122 | 2038 | Men's External Toilet - Tiling grout | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Jean Willis House - Administration & Daycare Respite Centre, 249 Healy Road, Hamilton Hill WA 6163 | Hamilton Hill | 20 | 2045 | Kitchen - Sink black tar resin sound dampener | 3 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Jean Willis House - Administration & Daycare Respite Centre, 249 Healy Road, Hamilton Hill WA 6163 | Hamilton Hill | 20 | 2045 | Female Toilet - Tile & grout under lino | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Encapsulated under newly laid lino. | Unknown if tile or grout contain ACM, assumed due to age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Jean Willis House - Administration & Daycare Respite Centre, 249 Healy Road, Hamilton Hill WA 6163 | Hamilton Hill | 20 | 2045 | Male Toilet - tile & grout under lino | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Encapsulated under newly laid lino. | Unknown if tile or grout contain ACM, assumed due to age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Jean Willis House - Administration & Daycare Respite Centre, 249 Healy Road, Hamilton Hill WA 6163 | Hamilton Hill | 20 | 2045 | Fencing - car park | 65 | YES | Damaged and deteriorating | Yes | MODERATE | Replace damaged fencing with non ACM product. Ensure vegetation is kept away from fencing to prevent panels becoming friable | City should liaise with the neighbouring property to ensure control measures are effectviely implemented. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Enright Reserve Changerooms, 221 Enright Reserve, Hamilton Hill WA 6163 | Hamilton Hill | 124 | 2044 | Female Toilet - tile grout | 15 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Enright Reserve Changerooms, 221 Enright Reserve, Hamilton Hill WA 6163 | Hamilton Hill | 124 | 2044 | Male Toilet - tile grout | 15 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Enright Reserve Changerooms, 221 Enright Reserve, Hamilton Hill WA 6163 | Hamilton Hill | 124 | 2044 | Disabled Public Toilets - tile grout | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Enright Reserve Changerooms, 221 Enright Reserve, Hamilton Hill WA 6163 | Hamilton Hill | 124 | 2044 | Male Public Toilet - tile grout | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Enright Reserve Changerooms, 221 Enright Reserve, Hamilton Hill WA 6163 | Hamilton Hill | 124 | 2044 | Female Public Toilet - tile grout | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Wally Hagan Stadium, Starling Street, Hamilton Hill WA 6963 | Hamilton Hill | 7 | 128 | Electrical switchboard & fuses | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Wally Hagan Stadium, Starling Street, Hamilton Hill WA 6963 | Hamilton Hill | 7 | 128 | Club Room Bar/Kitchen - sink black tar resin sound dampener | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Davilak Clubrooms (Davilak Reserve), Lucius Road, Hamilton Hill WA 6163 | Hamilton Hill | 119 | 2002 | Female Toilets - tile grout | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Davilak Clubrooms (Davilak Reserve), Lucius Road, Hamilton Hill WA 6163 | Hamilton Hill | 119 | 2002 | Male Toilet - tile grout | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Davilak Clubrooms (Davilak Reserve), Lucius Road, Hamilton Hill WA 6163 | Hamilton Hill | 119 | 2002 | Male Public Toilet - tile grout | 25 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Davilak Clubrooms (Davilak Reserve), Lucius Road, Hamilton Hill WA 6163 | Hamilton Hill | 119 | 2002 | Disabled Public Toilets - tile grout | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Davilak Clubrooms (Davilak Reserve), Lucius Road, Hamilton Hill WA 6163 | Hamilton Hill | 119 | 2002 | Female Public Toilet - tile grout | 25 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Pump House (Davilak Reserve), Lucius Road, Hamilton Hill WA 6163 | Hamilton Hill | 118 | 2001 | Pump House - electrical switchboard & fuses | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label to be implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Meerilinga Childcare Centre, 219 Winterfold Road, Coolbellup WA 6163 | Coolbellup | 49 | 4354 | Playroom Early Learning - ceiling to sliding door main entry | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building and characteristics. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Meerilinga Childcare Centre, 219 Winterfold Road, Coolbellup WA 6163 | Coolbellup | 49 | 4354 | Playroom - ceiling to sliding door entry | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building and characteristics. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Meerilinga Childcare Centre, 219 Winterfold Road, Coolbellup WA 6163 | Coolbellup | 49 | 4354 | Office - Extention ceiling | 6 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building and characteristics. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Meerilinga Childcare Centre, 219 Winterfold Road, Coolbellup WA 6163 | Coolbellup | 49 | 4354 | Toy Library - ceiling to sliding door | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building and characteristics. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Meerilinga Childcare Centre, 219 Winterfold Road, Coolbellup WA 6163 | Coolbellup | 49 | 4354 | Eaves | 40 | YES | Intact, not friable | Yes | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building and characteristics. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Meerilinga Childcare Centre, 219 Winterfold Road, Coolbellup WA 6163 | Coolbellup | 49 | 4354 | Electrical sweitchboard | 0.5 | YES | Damaged, not friable | Yes | LOW | Seal damaged edges or replace with non ACM product. Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Meerilinga Childcare Centre, 219 Winterfold Road, Coolbellup WA 6163 | Coolbellup | 49 | 4354 | Community Training Room - ceiling to sliding door | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required before disturbed, ACM suspected due to the age of the building and characteristics. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Entrance/Exit - ceiling panels to front/lean-to | 50 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Activity Room West - vinyl tile | 100 | YES | Damaged and deteriorating | Yes | MODERATE | Seal or replace damaged tiles with non-ACM product | Testing required. Caution label implemented | Yes, before disturbed | No Testing conducted previously negative result achieved, awaiting confirmation from the City | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Toilet/Laundry West & East - tile grout | 70 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Kitchen/Office - vinyl flooring | 30 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required. Caution label implemented | Yes, before disturbed | No - Testing conducted previously negative result achieved, awaiting confirmation from the City | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Kitchen - Sink tar resin sound dampener | 3 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | West Office - panels below windows | 3 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | No | Yes - BA7172/02 - Chrysotile Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Activity Room West - ceiling panels & facia boards | 100 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Kitchen - ceiling panels | 30 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Office next to Kitchen - ceiling panels | 25 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Toilet/Laundry West & East - ceiling panels | 80 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Activity Room East - vinyl tiles | 100 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required. Caution label implemented | Yes, before disturbed | No - Testing conducted previously negative result achieved, awaiting confirmation from the City | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Activity Room East - ceiling panels & facia boards | 100 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Activity Room East - children sink lining | 1 | YES | Damaged, not friable | Yes | LOW | Remove and replace with non ACM product | Testing required. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Activity Room East - panels below windows | 8 | YES | Damaged and deteriorating | Yes | MODERATE | Remove damaged panel and replace with non ACM product. Curtain has been contaiminated with ACM fibres and should be removed as cntrolled ACM waste | Caution label implemented | Yes, before disturbed | Yes - BA7172/02 - Chrysotile Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | East Office - ceiling | 25 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | East Office - gable panels | 1 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Activity Storeroom East - ceiling panels | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | West Office - gable panels | 2 | YES | N/A | N/A | N/A | Testing required | Non suspected | No | Yes - BA7156/01 - No Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | West Office - ceiling panels | 15 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | East Store Room - vinyl flooring | 100 | YES | Damaged and deteriorating | Yes | MODERATE | Monitor for wear and damages | Cracked and damaged tiles to doorway between Activity Room East and East Room | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | East Store Room Kitchen - sink, black tar resin sound dampener | 2 | YES | Intact, not friable | Yes | LOW | Encapsulate to prevent damage when storing items. | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Gas Heater - gaskets and lining | 1 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Encapsulated, assumed intact. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | East Store Room - ceiling and facia | 100 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | East Store Room Toilet - tile grout | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label to be implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Pineview Community Health Centre, 30 Mopsa Way, Coolbellup WA 6163 | Coolbellup | 14 | 2129 | Exterior Garage - guttering | 4 | YES | Intact, not friable | Yes | MODERATE | Remove and replace with non ACM product. | Unknown if internal guttering is sealed, fibres can be damaged from the removal and disturbance of tree debris. Tree debris could be friable. Caution label to be implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Cockburn Tennis Club, 17A Recreation Road (11 Lucius Road), Hamilton Hill WA 6163 | Hamilton Hill | 45 | 2004 | Window Putty | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Repaint/seal any deteriorated areas to contain ACM. Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Ethel Cooper Kindergarten, 34 Ingram Street, Hamilton Hill WA 6163 | Hamilton Hill | 13 | 2041 | Kitchen - sink, black tar resin sound dampener | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Ethel Cooper Kindergarten, 34 Ingram Street, Hamilton Hill WA 6163 | Hamilton Hill | 13 | 2041 | Play Room - sink (kids), black tar resin sound dampener | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Cockburn Senior Citizens Association, 9 Young Place (Clara Road), Hamiliton Hill WA 6163 | Hamilton Hill | 16 | 113 | Fencing and ridge capping next to carpark | 50 | YES | Damaged and deteriorating | Yes | HIGH | Remove ACM fencing and ridge capping and replace with non ACM product. Cut back vegetation from fencing to prevent ACM from being friable. | Vegetation causing panels and ridge capping to be friable. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Cockburn Senior Citizens Association, 9 Young Place (Clara Road), Hamiliton Hill WA 6163 | Hamilton Hill | 16 | 113 | Fencing and ridge capping next to driveway | 120 | YES | Damaged and deteriorating | Yes | HIGH | Remove ACM fencing and replace with non ACM product. Cut back vegetation from fencing to prevent ACM from being friable. | Vegetation causing panels and ridge capping to be friable. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Cockburn Senior Citizens Association, 9 Young Place (Clara Road), Hamiliton Hill WA 6163 | Hamilton Hill | 16 | 113 | Eaves | 65 | YES | Intact, not friable | No, if undisturbed | LOW | Seal damaged panel around copper pipe. Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Cockburn Senior Citizens Association, 9 Young Place (Clara Road), Hamiliton Hill WA 6163 | Hamilton Hill | 16 | 113 | Kitchen - benches & draining board, black tar resin sound dampener | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Encapsulate to prevent damage when storing items. | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Cockburn Senior Citizens Association, 9 Young Place (Clara Road), Hamiliton Hill WA 6163 | Hamilton Hill | 16 | 113 | Pantry - ceiling panels | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Cockburn Senior Citizens Association, 9 Young Place (Clara Road), Hamiliton Hill WA 6163 | Hamilton Hill | 16 | 113 | Female Toilet - tile grout | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Cockburn Senior Citizens Association, 9 Young Place (Clara Road), Hamiliton Hill WA 6163 | Hamilton Hill | 16 | 113 | Male Toilet - tile grout | 25 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Southwell Community Centre (Second Harvest), 8 Caffery Place, Hamilton Hill WA 6163 | Hamilton Hill | 41 | 148 | Kitchen - sink, black tar resin sound dampener | 1 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Southwell Community Centre (Second Harvest), 8 Caffery Place, Hamilton Hill WA 6163 | Hamilton Hill | 41 | 148 | Kitchen - tile grout | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Southwell Community Centre (Second Harvest), 8 Caffery Place, Hamilton Hill WA 6163 | Hamilton Hill | 41 | 148 | Store Kitchen - tile grout | 7 | YES | Damaged, not friable | Yes | LOW | Seal/repair damaged tiles. Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Goodchild Park Clubrooms, 30 Plantagenet Crescent (Ely Street), Hamilton Hill WA 6163 | Hamilton Hill | 127 | 2113 | Male Toilet/Bathroom - tile grout | 25 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Goodchild Park Clubrooms, 30 Plantagenet Crescent (Ely Street), Hamilton Hill WA 6163 | Hamilton Hill | 127 | 2113 | Men's Away Change Room - tile grout | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-18 | Goodchild Park Clubrooms, 30 Plantagenet Crescent (Ely Street), Hamilton Hill WA 6163 | Hamilton Hill | 127 | 2113 | Ladies Toilet - tile grout | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Homestead Museum, Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | 51 | 133 | Windows - putty, all windows | 10 | YES | Damaged and deteriorating | Yes | HIGH | Remove or seal damaged ACM with non ACM product. | Window putty accessible by visitors. Caution label to be implemented | No | Yes - BA6933/01 - Chrysotile Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Homestead Museum, Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | 51 | 133 | Store Room - ceiling panels | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Homestead Museum, Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | 51 | 133 | Bathroom - panel around the bath | 3 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Homestead Museum, Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | 51 | 133 | Bathroom - Vinyl flooring under cupboard | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Homestead Museum, Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | 51 | 133 | Bathroom - Vinyl flooring, top cover | 3 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Homestead Museum, Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | 51 | 133 | Kitchen - baby chiar covering | 1 | YES | N/A | N/A | N/A | Testing conducted | Non suspected | No | Yes - BA7036/02 - No Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Homestead Museum, Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | 88 | 4369 | Chicken Incubator - flue lagging & internal lining | 1 | YES | Damaged and deteriorating | Yes | HIGH | Remove or seal ACM with non ACM product. | Chicken incubator accessible by visitors. Caution label to be implemented | No | Yes - BA7036/01 - Chrysotile Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Azelia Ley - Dwelling, 97 Davilak Avenue, Hamilton Hill WA 6163 | Hamilton Hill | 18 | 131 | Kitchen & Hallway (Bedrooms & Lounge) - lino, encapsulated under top lino and carpet | 60 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Azelia Ley - Dwelling, 97 Davilak Avenue, Hamilton Hill WA 6163 | Hamilton Hill | 18 | 131 | Laundry & Toilet - tile grout | 15 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Azelia Ley - Dwelling, 97 Davilak Avenue, Hamilton Hill WA 6163 | Hamilton Hill | 18 | 131 | Bathroom Flooring - possible tile grout encapsulated underneath top tiles | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Azelia Ley - Dwelling, 97 Davilak Avenue, Hamilton Hill WA 6163 | Hamilton Hill | 18 | 131 | Eaves | 60 | YES | Intact, not friable | Yes | LOW | Remove vegetation from eaves, repaint and reseal to contain ACM. | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Azelia Ley - Dwelling, 97 Davilak Avenue, Hamilton Hill WA 6163 | Hamilton Hill | 18 | 131 | Electrical switchboard & fuses | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Bibra Lake Community Centre, 132 Parkway Road, Bibra Lake WA 6163 | Bibra Lake | 31 | 161 | Electrical switchboard | 1 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Bibra Lake Community Centre, 132 Parkway Road, Bibra Lake WA 6163 | Bibra Lake | 31 | 161 | Reticulation electrical switchboard | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Bibra Lake Community Centre, 132 Parkway Road, Bibra Lake WA 6163 | Bibra Lake | 31 | 161 | Main Hall - ACM vinyl flooring tile | 120 | YES | Damaged and deteriorating | Yes | LOW | Seal edges to entrance doorway and window. Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-21 | Depot - WorkShop Male Toilets, 54 Wellard Street, Bibra Lake WA 6163 | Bibra Lake | 52 | 152 | Workshop Male Toilet - tile grout | 25 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Stephen Smith
2019-11-21 | Depot - WorkShop Female Toilets, 54 Wellard Street, Bibra Lake WA 6163 | Bibra Lake | 52 | 152 | Workshop Female Toilet - tile grout | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Stephen Smith
2019-11-26 | Native Arc Training Room - Demountable, 172 Hope Road, Bibra Lake WA 6163 | Bibra Lake | 36 | 2518 | Eaves | 30 | YES | Intact, not friable | No, if undisturbed | LOW | Paint to seal otherwise remove and replace with non ACM product. | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Native Arc Main Building, 172 Hope Road, Bibra Lake WA 6163 | Bibra Lake | 35 | 2517 | Eaves & Batons | 100 | YES | Intact, not friable | Yes | LOW | Deterioration occuring in some areas otherwise monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Native Arc Main Building, 172 Hope Road, Bibra Lake WA 6163 | Bibra Lake | 35 | 2517 | Electrical switchboard | 1 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Native Arc Main Building, 172 Hope Road, Bibra Lake WA 6163 | Bibra Lake | 35 | 2517 | Bathroom/ Chemical Store - vanity unit, possible panels behind | 3 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Native Arc Main Building, 172 Hope Road, Bibra Lake WA 6163 | Bibra Lake | 35 | 2517 | Laundry Cupboard - lining to top of cupboard | 1 | YES | Intact, not friable | Yes | LOW | Seal, ecapsulate or do not store items on top shelf where unsealed ACM will become friable | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Native Arc Main Building, 172 Hope Road, Bibra Lake WA 6163 | Bibra Lake | 35 | 2517 | Hallway Linen Cupboard - lining to top of cupboard | 1 | YES | Intact, not friable | Yes | LOW | Seal, ecapsulate or do not store items on top shelf where unsealed ACM will become friable | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Native Arc Main Building, 172 Hope Road, Bibra Lake WA 6163 | Bibra Lake | 35 | 2517 | Kitchen/ICU Hospital - chimney flue lining | 4 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Cockburn Wetlands Education Centre, 184 Hope Road, Bibra Lake WA 6163 | Bibra Lake | 34 | 2217 | Main Hall & North Store Room - vinyl tile flooring | 200 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Public Toilets Bibra Lake (Round Toilets) West Side, Progress Drive, Bibra Lake WA 6163 | Bibra Lake | 109 | 2125 | Unisex Disabled, Male, Female Toilet - eaves, ceiling (entire) & batons | 120 | YES | Damaged and deteriorating | Yes | MODERATE | Reseal peeling paint or remove and replace with non ACM product | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lakes Out of School Hours Care (South Lake Activity Centre), 62 Mason Court & Elderberry Drive, South Lake WA 6164 | South Lake | 40 | 2306 | Main Activity Room - gas heater, gaskets & lining | 4 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lake Child Care Centre, 2 South Lake Drive, South Lake WA 6164 | South Lake | 11 | 163 | Activity Rooms - lino flooriing throughout | 50 | YES | Damaged, not friable | Yes | LOW | Testing required. Seal/ecapsulate damaged pieces or remove and replace with non ACM product. | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lake Child Care Centre, 2 South Lake Drive, South Lake WA 6164 | South Lake | 11 | 163 | Staff Toilet - tile grout | 5 | YES | Damaged, not friable | Yes | LOW | Testing required. Seal/replace damaged tiles or remove and replace with non ACM product. | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lake Child Care Centre, 2 South Lake Drive, South Lake WA 6164 | South Lake | 11 | 163 | Laundry - sluice sink, black tar resin underneath | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lake Child Care Centre, 2 South Lake Drive, South Lake WA 6164 | South Lake | 11 | 163 | Roof - upper eaves & gable ends | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Paint to further seal. Monitor for wear and damages | Caution label to be implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lake Ottey Centre, 2 South Lake Drive, South Lake WA 6164 | South Lake | 86 | 175 | Cleaners Store - tile grout | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lake Ottey Centre, 2 South Lake Drive, South Lake WA 6164 | South Lake | 86 | 175 | Activity Room 2 - tile grout | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lake Ottey Centre, 2 South Lake Drive, South Lake WA 6164 | South Lake | 86 | 175 | Activity Room 1 - tile grout | 15 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lake Ottey Centre, 2 South Lake Drive, South Lake WA 6164 | South Lake | 86 | 175 | Unisex Toilet - tile grout | 15 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lake Ottey Centre, 2 South Lake Drive, South Lake WA 6164 | South Lake | 86 | 175 | Unisex Toilet (West) - tile grout | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lake Ottey Centre, 2 South Lake Drive, South Lake WA 6164 | South Lake | 86 | 175 | Kitchenette - sink, black tar resin | 1 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Mostly encapsulated. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lake Ottey Centre, 2 South Lake Drive, South Lake WA 6164 | South Lake | 86 | 175 | Activity Room 2 - sink, black tar resin | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Mostly encapsulated. Caution label to be implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lake Ottey Centre, 2 South Lake Drive, South Lake WA 6164 | South Lake | 86 | 175 | Activity Room 1 - sink, black tar resin | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Presumed as could not gain access. Mostly encapsulated. Caution label to be implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | South Lake Ottey Centre, 2 South Lake Drive, South Lake WA 6164 | South Lake | 86 | 175 | Electrical switchboard & fuses | 1 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Yangebup Family Centre, 11 Dunraven Drive, Yangebup WA 6164 | Yangebup | 75 | 177 | Distribution Board No.1 - electrical switchboard & fuses | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Yangebup Family Centre, 11 Dunraven Drive, Yangebup WA 6164 | Yangebup | 75 | 177 | Distribution Board No.2 - electrical switchboard & fuses | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-21 | Yangebup Community Centre, 20 Swallow Drive, Yangebup WA 6164 | Yangebup | 28 | 157 | Female Toilet - tile grout | 30 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-21 | Yangebup Community Centre, 20 Swallow Drive, Yangebup WA 6164 | Yangebup | 28 | 157 | Male Toilet - tile grout | 25 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-21 | Yangebup Community Centre, 20 Swallow Drive, Yangebup WA 6164 | Yangebup | 28 | 157 | Female Toilet - stall dividers | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Testing required. Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-21 | Yangebup Community Centre, 20 Swallow Drive, Yangebup WA 6164 | Yangebup | 28 | 157 | Male Toilet - stall dividers | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Testing required. Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-21 | Yangebup Community Centre, 20 Swallow Drive, Yangebup WA 6164 | Yangebup | 28 | 157 | Hall Main Distribution Board - electrical switchboard & fuses | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-21 | Yangebup Community Centre, 20 Swallow Drive, Yangebup WA 6164 | Yangebup | 28 | 157 | Change Rooms - tile grout | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-21 | Yangebup Community Centre, 20 Swallow Drive, Yangebup WA 6164 | Yangebup | 28 | 157 | Female Exterior Toilets - tile grout | 15 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-21 | Yangebup Community Centre, 20 Swallow Drive, Yangebup WA 6164 | Yangebup | 28 | 157 | Umpires Shower Room - tile grout | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-21 | Yangebup Community Centre, 20 Swallow Drive, Yangebup WA 6164 | Yangebup | 28 | 157 | Male Disabled Toilet - tile grout | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-21 | Yangebup Community Centre, 20 Swallow Drive, Yangebup WA 6164 | Yangebup | 28 | 157 | Home Team Change Rooms - tile grout | 25 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Old Jandakot Primary School, 12 Poletti Road, Cockburn Central WA 6164 | Cockburn Central | 37 | 560 | Front Entrance Gable - Shadowline cladding | 20 | YES | Intact, not friable | Yes | LOW | Repaint/seal any deteriorated areas to contain ACM. Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Old Jandakot Primary School, 12 Poletti Road, Cockburn Central WA 6164 | Cockburn Central | 37 | 560 | Window Putty | 30 | YES | Damaged and deteriorating | Yes | HIGH | Remove and replace with non ACM product | Window putty in poor condition and breaking down. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Portuguese Cultural Club, 12 Poletti Road, Cockburn Central WA 6164 | Cockburn Central | 38 | 586 | Electrical switchboard & fuses | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Portuguese Cultural Club, 12 Poletti Road, Cockburn Central WA 6164 | Cockburn Central | 38 | 586 | Sound Studio - kitchen sink, black tar resin underneath | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Portuguese Cultural Club, 12 Poletti Road, Cockburn Central WA 6164 | Cockburn Central | 38 | 586 | Eaves (rear) | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Seal edges to cut out hole. Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Navel Base/Shacks - Male Toilet, 1136 Cockburn Road, Henderson WA 6166 | Henderson | 72 | 4376 | Male Toilet - panel behind cistern | 1 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Navel Base/Shacks - Laundry, 1136 Cockburn Road, Henderson WA 6166 | Henderson | 71 | 2018 | Laundry - ceiling | 40 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Navel Base/Shacks - Laundry, 1136 Cockburn Road, Henderson WA 6166 | Henderson | 71 | 2018 | Laundry - waste valve/flue | 5 | YES | Intact, not friable | No, if undisturbed | MODERATE | Repaint Flue to seal ACM. Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Navel Base/Shacks - Laundry, 1136 Cockburn Road, Henderson WA 6166 | Henderson | 71 | 2018 | Gardeners Shed - ceiling | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Navel Base/Shacks - Laundry, 1136 Cockburn Road, Henderson WA 6166 | Henderson | 71 | 2018 | Electrical switchboard | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Navel Base/Shacks - North Toilet Block, 1136 Cockburn Road, Henderson WA 6166 | Henderson | 69 | 136 | Waste valve/flue (internal & external) | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-22 | Navel Base/Shacks - North Toilet Block, 1136 Cockburn Road, Henderson WA 6166 | Henderson | 69 | 136 | Plant Room - ceiling | 15 | YES | Intact, not friable | Yes | MODERATE | Paint to seal otherwise remove and replace with non ACM product. | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Dwelling - 17 (Lot 22) Imlah Court, Jandakot WA 6164 | Jandakot | 26 | 3253 | Laundry - tiles & grout | 10 | YES | Damaged and deteriorating | Yes | N/A | Testing conducted | Non suspected | No | Yes - BA7052/01 - No Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Dwelling - 17 (Lot 22) Imlah Court, Jandakot WA 6164 | Jandakot | 26 | 3253 | Toilet - tiles & grout | 3 | N/A | N/A | N/A | N/A | N/A | Non suspected based on Laundry testing findings | No | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Dwelling - 17 (Lot 22) Imlah Court, Jandakot WA 6164 | Jandakot | 26 | 3253 | Bathroom - tiles & grout | 10 | N/A | N/A | N/A | N/A | N/A | Non suspected based on Laundry testing findings | No | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Dwelling - 17 (Lot 22) Imlah Court, Jandakot WA 6164 | Jandakot | 26 | 3253 | Fencing & ridge capping | 60 | YES | Damaged and deteriorating | Yes | MODERATE | Replace damaged fencing and ridge capping with non ACM product. Ensure vegetation is kept away from fencing to prevent panels becoming friable | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Dwelling - 17 (Lot 22) Imlah Court, Jandakot WA 6164 | Jandakot | 26 | 3253 | Laundry - panel below window | 2 | YES | Damaged, not friable | Yes | MODERATE | Remove and replace with non ACM product | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Dwelling - 17 (Lot 22) Imlah Court, Jandakot WA 6164 | Jandakot | 26 | 3253 | Electrical switchboard | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Beale Park Baseball Club (Cockburn City Baseball & Tee Ball Clubrooms), 1 Kent Street, Spearwood WA 6163 | Spearwood | 112 | 135 | Kiosk floor - vinyl tile | 25 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Beale Park Baseball Club (Cockburn City Baseball & Tee Ball Clubrooms), 1 Kent Street, Spearwood WA 6163 | Spearwood | 112 | 135 | Change Rooms - tile grout | 15 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Beale Park Baseball Club (Cockburn City Baseball & Tee Ball Clubrooms), 1 Kent Street, Spearwood WA 6163 | Spearwood | 112 | 135 | Laundry Room - sink, black tar resin | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Beale Park Baseball Club (Cockburn City Baseball & Tee Ball Clubrooms), 1 Kent Street, Spearwood WA 6163 | Spearwood | 112 | 135 | Laundry Room - tile grout | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Beale Park Baseball Club (Cockburn City Baseball & Tee Ball Clubrooms), 1 Kent Street, Spearwood WA 6163 | Spearwood | 112 | 135 | Male Public Toilets - tile grout | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Beale Park Baseball Club (Cockburn City Baseball & Tee Ball Clubrooms), 1 Kent Street, Spearwood WA 6163 | Spearwood | 112 | 135 | Female Public Toilets - tile grout | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Beale Park Clubrooms (Beale Park Soccer Club), 1 Kent Street, Spearwood WA 6163 | Spearwood | 130 | 143 | Gable ends paneling (and behind Colorbond gable) | 15 | YES | Damaged, not friable | Yes | MODERATE | Seal damaged edges or replace with non ACM product. Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Beale Park Clubrooms (Beale Park Soccer Club), 1 Kent Street, Spearwood WA 6163 | Spearwood | 130 | 143 | Electrical Switchboard (South) | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Beale Park Clubrooms (Beale Park Soccer Club), 1 Kent Street, Spearwood WA 6163 | Spearwood | 130 | 143 | Electrical Switchboard (Main) | 1 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Beale Park Clubrooms (Beale Park Soccer Club), 1 Kent Street, Spearwood WA 6163 | Spearwood | 130 | 143 | Female Toilet - vinyl tile | 20 | YES | Damaged and friable | Yes | HIGH | Seal vinyl tiles or remove and replace with non ACM product | Caution label implemented | No | Yes - BA7037/02 - Chrysotile Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Beale Park Clubrooms (Beale Park Soccer Club), 1 Kent Street, Spearwood WA 6163 | Spearwood | 130 | 143 | Male Toilet - vinyl tile & grout at trough | 16 | YES | Damaged and friable | Yes | HIGH | Seal vinyl tiles or remove and replace with non ACM product | Caution label implemented | No | Yes - BA7037/02 - Chrysotile Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Beale Park Clubrooms (Beale Park Soccer Club), 1 Kent Street, Spearwood WA 6163 | Spearwood | 130 | 143 | Physio Room - carpet underlay | 15 | N/A | Damaged and deteriorating | Yes | N/A | Testing conducted | Non suspected | No | Yes - BA7037/01 - No Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Edwardes Park Change Room, 10 Lintott Way, Spearwood WA 6163 | Spearwood | 116 | 3209 | Eaves | 30 | YES | Damaged and deteriorating | Yes | MODERATE | Replace damaged panels with non ACM product | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Dwelling - City Caretakers Cottage, 286 Rockingham Road, Spearwood WA 6163 | Spearwood | 8 | 139 | Kitchen - sink, black tar resin underneath | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Spearwood Library, 286 Rockingham Road (9 Coleville Crescent), Spearwood WA 6163 | Spearwood | 48 | 114 | Eaves & Facias | 400 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Smart Park Toilets, 46 Barrington Street, Spearwood WA 6163 | Spearwood | 111 | 162 | Male Toilet - tile grout | 15 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Smart Park Toilets, 46 Barrington Street, Spearwood WA 6163 | Spearwood | 111 | 162 | Male Toilet - sink, black tar resin underneath | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Further seal otherwise monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Smart Park Toilets, 46 Barrington Street, Spearwood WA 6163 | Spearwood | 111 | 162 | Female Toilet - tile grout | 15 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Smart Park Toilets, 46 Barrington Street, Spearwood WA 6163 | Spearwood | 111 | 162 | Female Toilet - sink, black tar resin underneath | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Further seal otherwise monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-26 | Smart Park Toilets, 46 Barrington Street, Spearwood WA 6163 | Spearwood | 111 | 162 | Fencing | 50 | YES | Damaged and deteriorating | Yes | MODERATE | Remove and replace all fencing with non ACM product to eliminate the likelihood of ACM disturbed through park maintenance work tasks or general public brushing against unsealed fence. ACM debris to be removed next to 48 Barrington Road fence. | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Dwelling - 83 Hamilton Road, 83 Hamiliton Road, Spearwood WA 6163 | Spearwood | 17 | 184 | Electrical Switchboard | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Dwelling - 83 Hamilton Road, 83 Hamiliton Road, Spearwood WA 6163 | Spearwood | 17 | 184 | Eaves | 70 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Some minor pitting to water damaged corners others sealed and intact. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Dwelling - 83 Hamilton Road, 83 Hamiliton Road, Spearwood WA 6163 | Spearwood | 17 | 184 | Packers between limestone foundation and wooden support beams | 1-100 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Unknown quanity and locations. Assumed ACM present due to age construction of the building, high likelihood of presence. Currently encapsulated underneath building. | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-28 | Dwelling - 83 Hamilton Road, 83 Hamiliton Road, Spearwood WA 6163 | Spearwood | 17 | 184 | Window Putty | 30 | YES | Damaged and deteriorating | Yes | LOW | Remove ACM or seal laundry window. Monitor for wear and damages | Testing required. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Naval Cadets (Cockburn CVES Building), 13 Kent Street, Spearwood WA 6163 | Spearwood | 1 | 156 | Fencing & ridge capping | 100 | YES | Damaged and deteriorating | Yes | MODERATE | Remove and replace damaged panels and ridge capping with non ACM product. Keep vegetation away from fencing to prevent panels becoming friable. | Testing required. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-29 | Naval Cadets (Cockburn CVES Building), 13 Kent Street, Spearwood WA 6163 | Spearwood | 1 | 156 | Hallway, Male & Female Toilets - tile grout | 35 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Administration Office (Cockburn Civic Centre), 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 9 | 119 | Eaves & Facias | 800 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Testing required. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Administration Office (Cockburn Civic Centre), 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 9 | 119 | Window Putty | 200 | YES | Damaged and deteriorating | Yes | MODERATE | Seal to encapsulate or remove and replace with non ACM product | Window putty in poor condition and breaking down. Caution label implemented | No | Yes - BA7034/02 Chrysotile Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Administration Office (Cockburn Civic Centre), 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 9 | 119 | Render | 1000 | N/A | Intact, not friable | No, if undisturbed | N/A | Testing conducted | Non suspected | No | Yes - BA7034/01 - No Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Administration Office (Cockburn Civic Centre), 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 9 | 119 | Air Conditioning Plant Room - electrical switchboard & fuses | 3 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Administration Office (Cockburn Civic Centre), 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 9 | 119 | Air Conditioning Plant Ducts - seals | 60 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Cockburn Senior Centre, 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 42 | 109 | Eaves & Facias | 300 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Cockburn Senior Centre, 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 42 | 109 | Popcorn Ceiling Panels | 500 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Cockburn Senior Centre, 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 42 | 109 | Staff Toilet - tile grout | 20 | N/A | Intact, not friable | No, if undisturbed | N/A | Testing conducted | Non suspected | No | Yes - BA7035/02 - No Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Cockburn Senior Centre, 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 42 | 109 | Female Toilet - tile grout | 30 | N/A | Intact, not friable | No, if undisturbed | N/A | Testing conducted | Assumed the same as Staff Toilet Testing. Non suspected | No | Yes - BA7035/02 - No Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Cockburn Senior Centre, 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 42 | 109 | Male Toilet - tile grout | 30 | N/A | Intact, not friable | No, if undisturbed | N/A | Testing conducted | Assumed the same as Staff Toilet Testing. Non suspected | No | Yes - BA7035/02 - No Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Cockburn Senior Centre, 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 42 | 109 | Electrical Switchboard - door lining | 6 | YES | Intact, not friable | No, if undisturbed | LOW | Seal or remove and replace with non ACM product. Monitor for wear and damages | Lining is unsealed and can become friable with access. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Cockburn Senior Centre, 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 42 | 109 | Electrical Switchboard - Switchboard & Fuses | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Cockburn Senior Centre, 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 42 | 109 | Kitchen, Foyer, Dry Store, Office - tile grout | 100 | YES | Intact, not friable | No, if undisturbed | LOW | Testing required. Seal damaged area. Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Cockburn Senior Centre, 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 42 | 109 | Kitchenette - sink, black tar resin | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Cockburn Senior Centre, 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 42 | 109 | Bar - sink, black tar resin | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Cockburn Senior Centre, 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 42 | 109 | Kitchen - sink & benches, black tar resin sound dampener | 25 | YES | Intact, not friable | No, if undisturbed | LOW | Encapsulate to ensure ACM is not disturbed when items are being stored. Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Cockburn Senior Centre, 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 42 | 109 | Cleaners Store & Toilet #1 - tile grout | 10 | N/A | Intact, not friable | No, if undisturbed | N/A | Testing conducted | Assumed the same as Staff Toilet Testing. Non suspected | No | Yes - BA7035/02 - No Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-25 | Cockburn Senior Centre, 9 Coleville Crescent (300 Rockingham Road), Spearwood WA 6163 | Spearwood | 42 | 109 | Cleaners Store & Toilet #2 - tile grout | 10 | N/A | Intact, not friable | No, if undisturbed | N/A | Testing conducted | Assumed the same as Staff Toilet Testing. Non suspected | No | Yes - BA7035/02 - No Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Dwelling - 159 (Lot 260) Phoenix Road, Spearwood WA 6163 | Spearwood | 85 | 4453 | Eaves | 80 | YES | Damaged and deteriorating | Yes | LOW | Reseal or remove and replace with non ACM product. Keep vegetation away from panels to prevent ACM becoming friable. | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Dwelling - 159 (Lot 260) Phoenix Road, Spearwood WA 6163 | Spearwood | 85 | 4453 | Electrical switchboard & fuses | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Dwelling - 159 (Lot 260) Phoenix Road, Spearwood WA 6163 | Spearwood | 85 | 4453 | Chimney Flue Lining | 4 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Dwelling - 159 (Lot 260) Phoenix Road, Spearwood WA 6163 | Spearwood | 85 | 4453 | Kitchen - vinyl flooring | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Dwelling - 159 (Lot 260) Phoenix Road, Spearwood WA 6163 | Spearwood | 85 | 4453 | Toilet - vinyl tiles | 2 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Dwelling - 159 (Lot 260) Phoenix Road, Spearwood WA 6163 | Spearwood | 85 | 4453 | Shed - electrical switchboard & fuses | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Dwelling - 159 (Lot 260) Phoenix Road, Spearwood WA 6163 | Spearwood | 85 | 4453 | Shed - carpet underlay | 20 | YES | Intact, not friable | Yes | MODERATE | Testing required. Remove in accordance with ACM removal requirements. | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Dwelling - 159 (Lot 260) Phoenix Road, Spearwood WA 6163 | Spearwood | 85 | 4453 | Shed - cladding, partition fence & ridge capping | 40 | YES | Damaged and friable | Yes | HIGH | Remove and replace with non ACM product. Remove ACM ridge capping debris broken on the ground. Remove vegetation from all ACM products to prevent material being friable | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Dwelling - 159 (Lot 260) Phoenix Road, Spearwood WA 6163 | Spearwood | 85 | 4453 | Shed - roofing | 20 | YES | Damaged and friable | Yes | HIGH | Remove and replace with non ACM product. Remove vegetation from all ACM products to prevent material being friable | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Dwelling - 159 (Lot 260) Phoenix Road, Spearwood WA 6163 | Spearwood | 85 | 4453 | Fencing & ridge capping | 15 | YES | Damaged and friable | Yes | HIGH | Remove and replace with non ACM product. Remove vegetation from all ACM products to prevent material being friable | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Dwelling - 159 (Lot 260) Phoenix Road, Spearwood WA 6163 | Spearwood | 85 | 4453 | Bathroom - tile grout | 5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-19 | Dwelling - 159 (Lot 260) Phoenix Road, Spearwood WA 6163 | Spearwood | 85 | 4453 | Hallway cupboard - vinyl flooring | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Vinyl encapsulated underneath carpet. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | Coogee Community Centre, 19 Arlington Loop, Coogee WA 6166 | Coogee | 32 | 160 | Electrical Switchboard | 0.5 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | South Coogee Agricultural Hall, 739 Rockingham Road, Munster WA 6166 | Munster | 29 | 159 | Kitchen - sink, black tar resin underneath | 1 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Some signs of deteriation otherwise mostly intact. Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | South Coogee Agricultural Hall, 739 Rockingham Road, Munster WA 6166 | Munster | 29 | 159 | Kitchen - ceiling panels & bulkheads | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | South Coogee Agricultural Hall, 739 Rockingham Road, Munster WA 6166 | Munster | 29 | 159 | Main Entrance - ceiling | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | South Coogee Agricultural Hall, 739 Rockingham Road, Munster WA 6166 | Munster | 29 | 159 | Store Room - ceiling & clad walls | 40 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | South Coogee Agricultural Hall, 739 Rockingham Road, Munster WA 6166 | Munster | 29 | 159 | Store Room - sink, black tar resin underneath | 1 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | South Coogee Agricultural Hall, 739 Rockingham Road, Munster WA 6166 | Munster | 29 | 159 | Toilet Hallway - ceiling | 6 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | South Coogee Agricultural Hall, 739 Rockingham Road, Munster WA 6166 | Munster | 29 | 159 | Male Toilet - ceiling | 20 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | South Coogee Agricultural Hall, 739 Rockingham Road, Munster WA 6166 | Munster | 29 | 159 | Female Toilet - ceiling & batons | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | South Coogee Agricultural Hall, 739 Rockingham Road, Munster WA 6166 | Munster | 29 | 159 | Slates to gable ends, front & rear | 10 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant
2019-11-20 | The Play Factory - Santich Park, Asquith Street (19 Beckett Close), Munster WA 6166 | Munster | 12 | 169 | Toy Equipment Room - vinyl flooring | 10 | N/A | Intact, not friable | No, if undisturbed | N/A | Testing conducted | Non suspected | No | Yes - BA7154/02 - No Asbestos Detected | Yes | Katherine Kempin, Cale Bant
2019-11-20 | The Play Factory - Santich Park, Asquith Street (19 Beckett Close), Munster WA 6166 | Munster | 12 | 169 | Kitchen - sink, black tar resin underneath | 3 | YES | Intact, not friable | No, if undisturbed | LOW | Monitor for wear and damages | Caution label implemented | Yes, before disturbed | No | Yes | Katherine Kempin, Cale Bant

## Register - Non ACM Property
City of Cockburn Asbestos Register
Date of Inspection | Address | Suburb | Property File LGIS Ref. | COC Asset No. | ACM Location | ACM Amount (m2) | ACM Presumed | ACM Condition | ACM Liable to damage or deterioration? | ACM Risk Level | Control Measures Recommended | Comments | Testing Required | Testing Conducted | Site Inspection Attachment | Inspected by | Site Works Attachment | Site Works Attachment
Unknown
[19 empty] | NO | Intact, not friable | Yes | LOW
[19 empty] | YES | Damaged, not friable | No, if undisturbed | MODERATE
[19 empty] | N/A | Damaged and deteriorating | N/A | HIGH
[20 empty] | Damaged and friable |  | EXTREME
2019-11-18 | Jean Willis House - Store, 249 Healy Road, Hamilton Hill WA 6163 | Hamilton Hill | 21 | 4393 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-18 | Jean Willis House - Respite House, 249 Healy Road, Hamilton Hill WA 6163 | Hamilton Hill | 22 | 4394 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-18 | Knowbarup Aboriginal Aged & Disabled Centre, 249 Healy Road, Hamilton Hill WA 6163 | Hamilton Hill | 23 | 4395 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-18 | Disability Resource Centre, 1 Starling Street, Hamilton Hill WA 6163 | Hamilton Hill | 19 | 144 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-18 | Changerooms - Len Packham, 96 Cordelia Avenue, Coolbellup WA 6163 | Coolbellup | 120 | 104 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-18 | Coolbellup Community Centre, 90 Cordelia Avenue, Coolbellup WA 6163 | Coolbellup | 15 | 4357 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-18 | Cockburn Tennis Club Toilets, 17A Recreation Road (11 Lucius Road), Hamilton Hill WA 6163 | Hamilton Hill | 46 | 2005 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-18 | Bakers Square Changerooms, 1 Mortlock Street, Hamilton Hill WA 6163 | Hamilton Hill | 126 | 2023 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-19 | Memorial Hall, 435 Carrington Street, Hamilton Hill WA 6163 | Hamilton Hill | 30 | 3254 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Port Coogee Toilet Block, 24 Medina Parade, Port Coogee WA 6163 | North Coogee | 83 | 4380 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Port Coogee Marina Services Office Building, 5 Maraboo Wharf, North Coogee WA 6163 | North Coogee | 84 | 4400 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Catherine Point Toilets, McTaggart Cove, North Coogee WA 6163 | North Coogee | 114 | 2000 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Picnic Shelters, 2110 Bennett Avenue, North Coogee WA 6163 | North Coogee | 133 | 174 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Outside Toilet Homestead, Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | N/A | BD000679 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Old Thunder Box Toilet, Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | 108 | 4397 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Manning Park North Toilet, Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | N/A | BD000672 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Manning Park South Toilet, Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | 106 | 130 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Music Shell (Manning Park), Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | 50 | 2180 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Old Wagon House Shed, Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | 87 | 2142 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-19 | Azelia Ley - Old One Room Cottage, Azelia & Glenister Road, Hamilton Hill WA 6163 | Hamilton Hill | 89 | 4398 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-21 | Depot - Rangers Office, 54 Wellard Street, Bibra Lake WA 6163 | Bibra Lake | 53 | 154 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Stephen Smith
2019-11-21 | Depot - Training Room, 54 Wellard Street, Bibra Lake WA 6163 | Bibra Lake | 54 | 168 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Stephen Smith
2019-11-21 | Depot - Administration Building, 54 Wellard Street, Bibra Lake WA 6163 | Bibra Lake | 55 | 1681 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Stephen Smith
2019-11-21 | Depot - Machinery Shed, 54 Wellard Street, Bibra Lake WA 6163 | Bibra Lake | 56 | 1682 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Stephen Smith
2019-11-21 | Depot - Dog Pound, 54 Wellard Street, Bibra Lake WA 6163 | Bibra Lake | 57 | 1683 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Stephen Smith
2019-11-21 | Depot - Parks Department Building, 54 Wellard Street, Bibra Lake WA 6163 | Bibra Lake | 58 | 1684 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Stephen Smith
2019-11-21 | Depot - Wash Down Bay, 54 Wellard Street, Bibra Lake WA 6163 | Bibra Lake | 59 | 1685 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Stephen Smith
2019-11-21 | Depot - Signage Shed, 54 Wellard Street, Bibra Lake WA 6163 | Bibra Lake | 60 | 1686 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Stephen Smith
2019-11-21 | Depot - Environmental Storage Transportable, 54 Wellard Street, Bibra Lake WA 6163 | Bibra Lake | 61 | 1687 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Stephen Smith
2019-11-21 | Depot - Environmental Storage Shed, 54 Wellard Street, Bibra Lake WA 6163 | Bibra Lake | 62 | 1688 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Stephen Smith
2019-11-21 | Depot - Environmental Office, 54 Wellard Street, Bibra Lake WA 6163 | Bibra Lake | 63 | 1689 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Stephen Smith
2019-11-26 | Bibra Lake Adventure Playground, North Lake Road WA 6163 | Bibra Lake | 146 | 187 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-26 | Toilet Block East (Bibra Lake Adventure Park), Cnr Bibra Drive & Parkway, Bibra Lake WA 6163 | Bibra Lake | 110 | 2228 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-26 | Scout Hall & Wetlands Nursery, 184 Hope Road, Bibra Lake WA 6163 | Bibra Lake | 76 | 2617 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-26 | Changerooms - Meller Park, Hope Road, Bibra Lake WA 6163 | Bibra Lake | 115 | 1108 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-26 | BMX Track Buildings & Transportable Toilets, Malabar Way, Bibra Lake WA 6163 | Bibra Lake | 90 | 1624 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-28 | Beeliar Community Centre - East Beeliar, 33 Lakefront Avenue, Beeliar WA 6164 | Beeliar | 25 | 2304 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-28 | Lakelands Hockey and Sporting Facility, South Lake Drive, South Lakes WA 6164 | South Lake | 156 | ? | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-28 | Jandakot Hall, 770 North Lake Road, South Lake WA 6164 | South Lake | 27 | 2025 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-28 | Toilet Block (Jandakot Hall), 770 North Lake Road, South Lake WA 6164 | South Lake | 113 | 2026 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-28 | Change Rooms - Anning Park, 770 North Lake Road, South Lake WA 6164 | South Lake | 125 | 141 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-28 | Toilet Block - Hop Bush Park, Elderberry Drive, South Lake WA 6164 | South Lake | 104 | 138 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-28 | Storage Building - Hop Bush Park, Elderberry Drive, South Lake WA 6164 | South Lake | 105 | 4396 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-28 | Cockburn Bowling & Recreational Club, 40 Birchley Road, Yangebup WA 6164 | Yangebup | 103 | 4350 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-28 | Yangebup Clubrooms - Nicholson Reserve, 20 Swallow Drive, Yangebup WA 6164 | Yangebup | 131 | 2130 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-27 | Harvest Lakes Community Centre, 62 Aurora Drive, Atwell WA 6164 | Atwell | 73 | 2270 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-27 | Atwell Community Centre, 9 Lombe Gardens, Atwell WA 6164 | Atwell | 24 | 2230 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-27 | Club Rooms Atwell Oval (Jandakot Jets Junior Football Club), Brenchley Drive, Atwell WA 6164 | Atwell | 132 | 2219 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-27 | Aubin Grove Sport & Community Facility, 71 Camden Boulevard, Aubin Grove WA 6164 | Aubin Grove | 78 | 4358 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-27 | Banjup Community Hall, 41 Oxley Road, Banjup WA 6164 | Banjup | 33 | 2216 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-27 | Jandakot Volunteer Bush Fire Brigade, Cnr Liddelow & Oxley Road, Banjup WA 6164 | Banjup | 2 | 164 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-22 | Transportable Toilets - 12 Poletti Road, Cockburn Central WA 6164 | Cockburn Central | 39 | 588 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-27 | Cockburn Community Men's Shed, 2 Sullivan Street (Buckley Street), Cockburn Central WA 6164 | Cockburn Central | 80 | 4340 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-27 | Aquatic Recreation Centre (ARC), 31 Veterans Parade, Cockburn Central WA 6164 | Cockburn Central | 102 | 4449 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-27 | SES Headquarters (CVES), 71 Buckley Street, Cockburn Central WA 6164 | Cockburn Central | 4 | 4378 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-27 | Hammond Park/Botany Park Changerooms, 71 Macquarie Boulevard (Botany Parade) Hammond Park WA 6164 | Hammond Park | 79 | 4377 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-22 | Navel Base/Shacks - Female Toilet, 1136 Cockburn Road, Henderson WA 6166 | Henderson | 70 | 2017 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Picnic Shelter, 17 Turnbury Park Drive, Jandakot WA 6164 | Jandakot | 134 | 175 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Cockburn Youth Centre, 11-25 Wentworth Parade, Success WA 6164 | Success | 10 | 2308 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Success Regional Sport and Community Facility, 359 Hammond Road, Success WA 6164 | Success | 77 | 4355 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Cockburn Community Health Facility (Intergrated Health Building), Cnr 11 Wentworth Parade & Beeliar Drive, Success WA 6164 | Success | 81 | 4381 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Henderson Waste Recovery Park - Weighbridge Office, 920 Rockingham Road, Wattleup WA 6166 | Wattleup | 91 | 171 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Henderson Waste Recovery Park - Workshop #1, 920 Rockingham Road, Wattleup WA 6166 | Wattleup | 92 | 190 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Henderson Waste Recovery Park - Workshop #2, 920 Rockingham Road, Wattleup WA 6166 | Wattleup | 93 | 191 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Henderson Waste Recovery Park - Workshop #3, 920 Rockingham Road, Wattleup WA 6166 | Wattleup | 94 | 192 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Henderson Waste Recovery Park - Toilet Block, 920 Rockingham Road, Wattleup WA 6166 | Wattleup | 95 | 4283 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Henderson Waste Recovery Park - Crib Room #1, 920 Rockingham Road, Wattleup WA 6166 | Wattleup | 96 | 4285 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Henderson Waste Recovery Park - Crib Room #2, 920 Rockingham Road, Wattleup WA 6166 | Wattleup | 97 | 4285(?) | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Henderson Waste Recovery Park - Site Office, 920 Rockingham Road, Wattleup WA 6166 | Wattleup | 98 | 4363 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Henderson Waste Recovery Park - Hazardous Chemical Shed, 920 Rockingham Road, Wattleup WA 6166 | Wattleup | 99 | 4364 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Henderson Waste Recovery Park - Transfer Station Building, 920 Rockingham Road, Wattleup WA 6166 | Wattleup | 100 | 4374 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Henderson Waste Recovery Park - Recycle Shop, 920 Rockingham Road, Wattleup WA 6166 | Wattleup | 101 | 4373 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-19 | Changerooms - Lucius Park Clubrooms, Hamilton Road, Spearwood WA 6163 | Spearwood | 128 | 122 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Ablution Block (Dubove Park) Cnr Freeth Road & Bohemia Street, Spearwood WA 6163 | Spearwood | 117 | 2043 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Watson Reserve Clubroom/Change Rooms, 342 Rockingham Road, Spearwood WA 6163 | Spearwood | 123 | 2019 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-25 | Vacant Block (Cockburn bowling & Rec Club), 300 Rockingham Road, Spearwood WA 6163 | Spearwood | 6 | 134 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Coogee Beach Toilet Block, 4 Powell Road, Coogee WA 6166 | Coogee | 43 | 2011 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Coogee Café, 4 Powell Road, Coogee WA 6166 | Coogee | 74 | 2303 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Coogee Beach Lifesaving Club Inc., 4 Powell Road, Coogee WA 6166 | Coogee | 82 | 4379 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Jetty, Powell Road (11 Possner Way?), Coogee WA 6166 | Coogee | 44 | 2110 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | South Coogee Change Rooms, Russell Road West, Munster WA 6166 | Munster | 121 | 2032 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
2019-11-20 | Santich Park Club Rooms, Asquith Street, Munster WA 6166 | Munster | 129 | 2126 | N/A | 0 | NO | N/A | N/A | N/A | N/A | Non suspected | No | No | N/A | Katherine Kempin, Cale Bant
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## ACM Register of Works
City of Cockburn Asbestos Register of Works
Address | Property File Ref | ACM Location | ACM Presumed | ACM Condition | ACM Liable to damage or deterioration? | ACM Risk Level | Date | Contract or Name | Proposed Works | Training Provided | Code of Practice Provided | Sign Off Document Attachments

## Sheet3
No |  | N/A
Yes | NO | Unknown | Yes | LOW
Yes, before disturbed | YES | Intact, not friable | No, if undisturbed | MODERATE
| N/A | Damaged, not friable | N/A | HIGH
|  | Damaged and deteriorating |  | EXTREME
|  | Damaged and friable |  | N/A
Friable